## Slide 1: Rajshahi University of Engineering & Technology Department of Mechatronics Engineering
Heaven’s light is our guide
Thesis Title :
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
Submitted By:
Asif Bin Karim (148004)
Saquib Shahriar (148007)
Supervised By:
Md. Manirul Islam
Assistant Professor, Department of Mechatronics Engineering,
Rajshahi University of Engineering & Technology.
Course Title: Seminar
Course No. : MTE 4210

## Slide 2
Outlines
Motivation
Objectives
Introduction
Challenges
Literature Review
Components
System Architecture
Data Acquisition & Analysis
MQTT (Message Queuing Telemetry Transport) Server Design & Implementation
Discussion
Future Works
Date : 07.09.2019 MTE 4210 Page No. : 01
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 3
Date : 07.09.2019 MTE 4210 Page No. : 02
Environment monitoring system for chemical storages, industries, office and the overcrowded areas
Remotely operated fast prevention technique
Automatically operated and responsive prevention technique
Minimizing the loss of fire accidents
Motivation of this work
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 4
To Construct a wireless sensor network with minimal coding space in controller
To monitor the condition of a control volume
To calibrate and analyze raw noisy sensor data
To select optimal statistical filter using MATLAB in a real time operation
To implement swift feedforward control mechanism for controlling actuators when needed
Date : 07.09.2019 MTE 4210 Page No. : 03
Objectives
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 5
A network of devices that can communicate the information gathered from a monitored field through wireless links.
The data is forwarded through multiple nodes, and with a gateway, the data is connected to other networks like wireless Ethernet.
Date : 07.09.2019 MTE 4210 Page No. : 04
Introduction
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
Fig.1 : A Wireless Sensor network node

## Slide 6
Make interactions between a number sensors and controller at the same time
Network coverage of the whole system
Reduce time lagging problem in actuating operation
Secure data transmission
Constant power source
Date : 07.09.2019 MTE 4210 Page No. : 05
Challenges
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 7
Title | Author | Published Year | Conference/Journal | Research Gap
Software design for wireless sensor-based site-specific irrigation | Jacobson, B.K., Jones, P.H., Jones, J.W., Paramore , | 2009 | Computers and Electronics in Agriculture | Designed a wireless sensor software which couldn’t operate in real time.
A survey on routing protocols for wireless sensor networks | Akkaya , K., & Younis. | 2013 | IEEE | Developed a networking system, but didn’t show any result.
Shape detection of object behind thin medium using ultrasonic sensors | Win, Y. T., Afzulpurkar, N., & Punyasai. | 2017 | International Journal of Advanced Robotics System. | Observation of an object But practical model was not implemented.
Wireless method for home safety gas leakage. | Fraiwan, L., Lweesy, K., Bani-Salma, A., & Mani. | 2011 | MECBME | Development of a wireless monitoring system using IoT for a single sensor.
Remote sensing and control of an irrigation system using distributed wireless sensor network. | Y. Kim, R. G. Evans, and William M. Iversen | 2018 | IEEE transaction of instrumentation and measurement. | Simulink model of a water irrigation system was proposed which was not evaluated.
Date : 07.09.2019 MTE 4210 Page No. : 06
Literature Review
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 8
Title | Author | Published Year | Conference/Journal | Research Gap
Lifetime maximization of disjoint wireless sensor networks using multi objective Genetic algorithm | Mohamed El Sherif, Yasmine Fahmy, Hanan Kamal | 2015 | IET Research Journals | Which Path is better in lifetime maximization isn’t mentioned
Wearable Sensors for Human Activity Monitoring | Subhas Chandra | 2015 | IEEE | No data was shown , how the whole network system was working
Energy efficient medium access control and routing protocol for multiloop wireless sensor network | Maria Sefuba, Tom Walingo | 2018 | IET Journals | Networking system for efficient mac protocol is absent
An approach of mobile wireless sensor network for target coverage and network connectivity with minimum movement | Daler Kaur, Mrs. Maninder Kaur | 2017 | IRJET | An comprehensive study about WSN but no solution has been declared for WSN challenges
Wireless Sensor Network : Challenges & Possibilities | Amit Rathi, Randeep Singh, Avishilpa Nandini | 2016 | International Journal of Computer Applications | Briefly discussed about sensor nodes and their challenges not their efficiency
Date : 07.09.2019 MTE 4210 Page No. : 07
Literature Review
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 9
Date : 07.09.2019 MTE 4210 Page No. : 8
Name of the Components | Number of Piece
Microcontroller (ESP 8266) | 1
Temperature and Relative Humidity sensor (DHT-11 Sensor) | 1
Gas Sensors (MQ-2 and MQ-6) | 2
Relay | 1
DC solenoid valve (12V-2A) | 1
DC Pump (12V-2A) | 1
Solar Plate | 2
Linear Regulator (MCP1700) | 1
Battery Charger (TP4056) | 1
Components
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 10
Date : 07.09.2019 MTE 4210 Page No. : 9
System Architecture
Fig. 2(a)Schematic diagram of the system (b)Implemented system
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
(a)
(b)

## Slide 11
Date : 07.09.2019 MTE 4210 Page No. : 10
Fig.3 : (a)Schematic diagram of solar system (b)Implemented system
System Architecture (Renewable energy assisted power source)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 12
Fig. 4 (a): Block diagram of the system overview
Data Acquisition
MQTT Server
Condition Monitoring
Controlling Actuator State
Date : 07.09.2019 MTE 4210 Page No. : 11
System Overview
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 13
Date : 07.09.2019 MTE 4210 Page No. : 12
Fig.4(b): Control Diagram of the System
System Overview (Continued)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 14
=
= +
= ppm on the graph
= Rs0/R0
= Sensor Output Resistance at normal environment
= Sensor Output Resistance at ideal environment
(1000 ppm of LPG, 25 Deg. C. & 60% RH)
Date : 07.09.2019 MTE 4210 Page No. : 13
Fig.5: Voltage vs Gas Concentration(in PPM) plot (MQ-2 Gas Sensor)
Sensor Data Calibration (ADC to PPM)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 15
Date : 07.09.2019 MTE 4210 Page No. : 14
Fig.6: Gas Concentration (in PPM) with respect to time (MQ-2 Gas Senor)
Sensor Data Acquisition and Analysis
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
(PM)

## Slide 16
Date : 07.09.2019 MTE 4210 Page No. : 15
Fig.7: Temperature and Relative Humidity with respect to time (DHT-11 Sensor)
Sensor Data Acquisition and Analysis (Continued)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
(PM)

## Slide 17
Date : 07.09.2019 MTE 4210 Page No. : 16
Fig.8: Relay state ON/OFF using Feedforward control system (For Actuator Controlling)
Sensor Data Acquisition and Analysis (Continued)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
(PM)

## Slide 18
Date : 07.09.2019 MTE 4210 Page No. : 17
Fig.9: Gas Concentration Signal Processing using Savitzky-Golay Filter, Moving Avg. Filter & Median Filter
Sensor Data Acquisition and Analysis (Continued)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
(sec)
(ppm)

## Slide 19
Date : 07.09.2019 MTE 4210 Page No. : 18
Fig.10: Processed Signal for LPG Concentration at manual leak environment
Sensor Data Acquisition and Analysis (Continued)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 20
Date : 07.09.2019 MTE 4210 Page No. : 19
Sensor Data Acquisition and Analysis (Continued)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
Fig.11: Group delay response plot for the gas sensor

## Slide 21
Date : 07.09.2019 MTE 4210 Page No. : 20
Fig.12 : (a) Server home Page (b) Actuator Control server
MQTT Server Design & Implementation
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)
(a)
(b)

## Slide 22
Date : 07.09.2019 MTE 4210 Page No. : 21
Fig.13 : Data Storing to Database from Sensors
MQTT Server Design & Implementation
(Continued)
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 23
The fabricated system run successfully and more then 1000 trials were performed to measure it’s performance.
Some errors were observed during those 17 trials.
The system took less than 1 second to control the actuator with respect to given commands.
From analyzed signals the group delay period seemed quite perfect when the Baud Rate (Sampling Frequency) tuning ranges are from 11 to 12.6 kHz.
Date : 07.09.2019 MTE 4210 Page No. : 22
Discussion
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 24
Date : 07.09.2019 MTE 4210 Page No. : 24
Voice commands technology can be implemented for controlling Actuators.
Adaptive fuzzy logic can be implemented for automatic controlling of AC, water pump and other equipment’s. It can also be used to pre-detect the probability of the fire.
Future Works
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 25
Date : 07.09.2019 MTE 4210 Page No. : 25
What we have done?
A low cost and easy operated system has been developed here which can be a good solution of monitoring environment and through this system proper response can be operated during hazards or any unwanted condition.
This system is capable to minimize the loss of any fire accident at any building and industry.
Conclusion
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 26
Date : 07.09.2019 MTE 4210 Page No. : 25
Video
Environment Condition Monitoring and Long Distance Actuator Control using Wireless Sensor Network (WSN)

## Slide 27
Thank You